## BIA
CriticalOps Inc — Business Impact Analysis (BIA)
RTO and RPO requirements for critical infrastructure systems supporting 10M+ citizens
Asset ID | System | Criticality | RTO (Recovery Time) | RPO (Recovery Point) | Max Tolerable Downtime | Business Impact | Dependencies
AST-mna2e6cx | SCADA Control Systems | Critical | 1 hour | 15 min | 4 hours | Loss of water treatment monitoring; health and safety risk to 10M+ citizens; CISA reportable within 1 hour | OT Network, DR Site, Operational DB
AST-mna2embg | Operational Technology Network | Critical | 30 min | 0 (real-time) | 2 hours | Loss of all SCADA control communication; complete operational blindness; cascading failures | Network redundancy paths, fiber backbone
AST-mna2f446 | Incident Command and Control Platform | Critical | 2 hours | 30 min | 4 hours | Loss of incident coordination capability; delayed emergency response across multiple facilities | SCADA data feeds, communication links
AST-mna2fm0s | SCADA Operational Database | Critical | 1 hour | 15 min | 4 hours | Loss of operational data history; cannot reconcile post-incident; regulatory compliance gap | Backup infrastructure, replication links
AST-mna2g9pl | Disaster Recovery Site Infrastructure | Critical | 4 hours | 1 hour | 12 hours | No failover capability if primary site fails; full operational shutdown if primary unavailable | Network connectivity, replicated data, trained operators